## NPV-shortterm
Disciplines | Area
| Airside | General | Landside | Terminal 1 | Terminal 2 | Total
Architectural | 0 | 0 | 553000 | 120807412.87 | 4413704.06 | 125774116.93
Civil | 9436500 | 0 | 6815250 | 0 | 366696.8 | 16618446.8
Electrical | 5676250 | 0 | 0 | 155611735 | 14709787.5 | 175997772.5
Environment | 0 | 24543300 | 0 | 0 | 0 | 24543300
IT | 0 | 0 | 0 | 1200000 | 1100000 | 2300000
Mechanical | 0 | 0 | 0 | 30111600 | 11189910 | 41301510
Structural | 0 | 0 | 0 | 152920 | 24576475.756 | 24729395.756
Total | 15112750 | 24543300 | 7368250 | 307883667.87 | 56356574.116 | 411264541.986

## NPV-immediate
Disciplines | Area
| Airside | General | Landside | Terminal 1 | Terminal 2 | Total
Architectural | 0 | 0 | 553000 | 120807412.87 | 4413704.06 | 125774116.93
Civil | 9436500 | 0 | 6815250 | 0 | 366696.8 | 16618446.8
Electrical | 5676250 | 0 | 0 | 29531735 | 14709787.5 | 49917772.5
Environment | 0 | 24543300 | 0 | 0 | 0 | 24543300
IT | 0 | 0 | 0 | 1200000 | 1100000 | 2300000
Mechanical | 0 | 0 | 0 | 26286700 | 11189910 | 37476610
Structural | 0 | 0 | 0 | 152920 | 24576475.756 | 24729395.756
Total | 15112750 | 24543300 | 7368250 | 177978767.87 | 56356574.116 | 281359641.986

## NPV-cause-area
Cause | Area
| Airside | General | Landside | Terminal 1 | Terminal 2 | Total
Aging | 0 | 0 | 0 | 107266663 | 2441750 | 109708413
Construction | 2916000 | 0 | 6282000 | 0 | 1334.656 | 9199334.656
Damage | 0 | 24543300 | 0 | 2050000 | 20000 | 26613300
Deterioration | 6520500 | 0 | 0 | 25415989.87 | 26676252.26 | 58612742.13
Typhoon | 5676250 | 0 | 1086250 | 43246115 | 27217237.2 | 77225852.2
Total | 15112750 | 24543300 | 7368250 | 177978767.87 | 56356574.116 | 281359641.986

## NPV-cause-discp
Cause | Area
| Architectural | Civil | Electrical | Environment | IT | Mechanical | Structural | Total
Aging | 104344263 | 0 | 4422400 | 0 | 500000 | 430350 | 11400 | 109708413
Construction | 0 | 9198000 | 0 | 0 | 0 | 0 | 1334.656 | 9199334.656
Damage | 0 | 0 | 0 | 24543300 | 0 | 2070000 | 0 | 26613300
Deterioration | 18589104.23 | 6887196.8 | 6583520 | 0 | 0 | 1836260 | 24716661.1 | 58612742.13
Typhoon | 2840749.7 | 533250 | 38911852.5 | 0 | 1800000 | 33140000 | 0 | 77225852.2
Total | 125774116.93 | 16618446.8 | 49917772.5 | 24543300 | 2300000 | 37476610 | 24729395.756 | 281359641.986

## NPV-risk
Disciplines | Area
| Terminal 1 | Total
Electrical | 126080000 | 126080000
Mechanical | 3824900 | 3824900
Total | 129904900 | 129904900

## NPV_medium
Discipline | Area
| Airport Systems | Furniture and Signage | Pavement and Ultilities | Terminal 1 | Terminal 2 | Total
Airport Systems | 275962874.839 | 0 | 0 | 0 | 0 | 275962874.839
Architectural | 0 | 0 | 0 | 0 | 31972700 | 31972700
Furniture and Signage | 0 | 125989906.3949 | 0 | 0 | 0 | 125989906.3949
IT | 0 | 0 | 0 | 20000000 | 0 | 20000000
Pavement and Ultilities | 0 | 0 | 251536970.0935 | 0 | 0
Structural | 0 | 0 | 0 | 105000000 | 0 | 105000000
Total | 275962874.839 | 125989906.3949 | 251536970.0935 | 125000000 | 31972700 | 558925481.2339

## NPV_longterm
| Discipline | Area/Sysm
|  | Airport | Finishes | Furn./Signage | IT Systems | Landscape | Pav./Ulti. | Terminal 1 | Terminal 2 | Total
1 | Airport Systems | 275962874.839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 275962874.839
2 | Architectural | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31972700 | 31972700
3 | Finishes | 0 | 1176032540.3181 | 0 | 0 | 0 | 0 | 0 | 0 | 1176032540.3181
4 | Furniture and Signage | 0 | 0 | 125989906.3949 | 0 | 0 | 0 | 0 | 0 | 125989906.3949
5 | IT | 0 | 0 | 0 | 255225780.1979 | 0 | 0 | 20000000 | 0
6 | Landscape | 0 | 0 | 0 | 0 | 173891111.145 | 0 | 0 | 0
7 | Pavement and Ultilities | 0 | 0 | 0 | 0 | 0 | 251536970.0935 | 0 | 0 | 251536970.0935
| Structural | 0 | 0 | 0 | 0 | 0 | 0 | 105000000 | 0
8 | Total | 275962874.839 | 1176032540.3181 | 125989906.3949 | 255225780.1979 | 173891111.145 | 251536970.0935 | 20000000 | 31972700 | 1861494991.6454

## NPV_visionary
Discipline | Area
| Airport Systems | Furniture and Signage | Pavement and Ultilities | Terminal 1 | Terminal 2 | Total
Airport Systems | 275962874.839 | 0 | 0 | 0 | 0 | 275962874.839
Architectural | 0 | 0 | 0 | 0 | 31972700 | 31972700
Furniture and Signage | 0 | 125989906.3949 | 0 | 0 | 0 | 125989906.3949
IT | 0 | 0 | 0 | 20000000 | 0 | 20000000
Pavement and Ultilities | 0 | 0 | 251536970.0935 | 0 | 0
Structural | 0 | 0 | 0 | 105000000 | 0 | 105000000
Total | 275962874.839 | 125989906.3949 | 251536970.0935 | 125000000 | 31972700 | 558925481.2339
0.51

## typhoon
No. | Items | Findings | Area | Discipline | State | Interventions | Capex
1 | Airfield Ground Lighting (by MCIA) | 1.) Reported that there is a high possibility of Deteriorated Airfield Ground Lights on runway due to Typhoon Odette. 2.) Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. | Airside | Electrical | 4 | replacement of airfield ground lighting | 3975000
2 | Electrical Feeder Cables | 1.) 10\% were damaged by typhoon. 2.) There is a risk of not providing adequate level of services due to low reliability because of aging for remaining. | Airside | Electrical | 5 | Renewal of Electrical Feeder Cables | 970000
3 | Approach Lighting (by MCIA) | 15\% of the Approach Lighting were damaged by the typhoon. Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. | Airside | Electrical | 4 | replacement of approach lighting | 731250
4 | Metal Roof | Damage roofing due to Odette or Typhoon "Rai" | Landside | Architectural | 5 | Replaced damaged roofing sheet | 237000
5 | Metal Roof | Damage roofing due to Odette or Typhoon "Rai" | Landside | Architectural | 5 | Replaced damaged roofing sheet | 237000
6 | Metal Roof | Damage roofing due to Odette or Typhoon "Rai" | Landside | Architectural | 5 | Replaced damaged roofing sheet | 79000
7 | Louver | Missing louver pannel due to Odette or Typhoon "Rai" | Landside | Civil | 3 | Replacement of detached louvers | 533250
8 | Facade Glazing | Glazings and its supports was destroyed by Odette or Typhoon "Rai" | Terminal 1 | Architectural | 5 | Replacement of damaged facaded glazing | 630284
9 | Facade Glazing | Glazings and its supports was destroyed by Odette or Typhoon "Rai" | Terminal 1 | Architectural | 5 | Replacement of damaged facaded glazing | 630016
10 | High Mast Lighting | 1.) Power supply for 3 fixed pole were damaged by the typhoon. 2.) 6 out of 14 poles had defective lightings. 3.) Controls for High Mast Lighting are manual since BMS is not existing on Terminal 1. | Terminal 1 | Electrical | 5 | Replacement of damaged high mast lights Automation of Monitoring and Control for High Mast Lighting | 9187500
11 | Solar Panels | 93 out of 17,000 panels were damaged by the typhoon | Terminal 1 | Electrical | 4 | replacement of damaged solar panels | 4500000
12 | Directional Signages | 90\% of the directional signages were damaged by the typhoon. | Terminal 1 | Electrical | 5 | Replacement of directional signages | 2130000
13 | Carpark Lighting | 1.) 2-3\% of the carpark lighting were damaged by the typhoon. 2.) No spares for Lighting Bulbs \& Fixtures. | Terminal 1 | Electrical | 5 | Replacement of damaged carpark lighting | 1359375
14 | Emergency Exit Lights | the emergency lights were reported not working. | Terminal 1 | Electrical | 5 | Replacement of Emergency Exit Lightings | 780000
15 | Normal Lighting | 1.) 5\% of the normal lightings are reported to be damaged by Typhoon in North Wing Arrival. 2.) No spares for Lighting Bulbs \& Fixtures. | Terminal 1 | Electrical | 5 | Replacement of Normal Lightings | 688940
16 | FIDS | FIDS Monitors installed outdoors are lost/damaged due to typhoon. | Terminal 1 | IT | 3 | Install outdoor FIDS in a reinforced setup that will withstand typhoons, OR practice un-installation of FIDS monitors one (1) day before arrival of typhoon. | 400000
17 | CCTV | CCTV equipment installed outdoors are lost/damageddue to typhoon. | Terminal 1 | IT | 3 | Install outdoor CCTVs in a reinforced setup that will withstand typhoons, OR practice un-installation of CCTV equipment one (1) day before arrival of typhoon. | 300000
18 | PBB 6 | Condemned. Parts were cannibalized for other bridges. | Terminal 1 | Mechanical | 5 | Procure parts and restore bridge to ensure equipment is ready for use. | 15000000
19 | PBB 1 | Damaged Slat Curtain and Aluminum Ceiling on Cabin and Rotunda is an eye-sore. Rainwater may sip through the ceiling if not correctly replaced. | Terminal 1 | Mechanical | 3 | Repair damaged part ensure presentability of bridge to passengers. | 1500000
20 | PBB 2 | Damaged Slat Curtain and Aluminum Ceiling on Cabin is an eye-sore. Rainwater may sip through the ceiling if not correctly replaced. | Terminal 1 | Mechanical | 3 | Repair damaged part ensure presentability of bridge to passengers. | 1500000
21 | PBB 3 | Damaged Slat Curtain and Aluminum Ceiling on Cabin is an eye-sore. Rainwater may sip through the ceiling if not correctly replaced. | Terminal 1 | Mechanical | 3 | Repair damaged part ensure presentability of bridge to passengers. | 1500000
22 | PBB 4 | Damaged Slat Curtain and Aluminum Ceiling on Cabin is an eye-sore. Rainwater may sip through the ceiling if not correctly replaced. | Terminal 1 | Mechanical | 3 | Repair damaged part ensure presentability of bridge to passengers. | 1500000
23 | PBB 5 | Damaged Slat Curtain and Aluminum Ceiling on Cabin and Rotunda is an eye-sore. Rainwater may sip through the ceiling if not correctly replaced. | Terminal 1 | Mechanical | 3 | Repair damaged part ensure presentability of bridge to passengers. | 1500000
24 | AHU-NPP1-1, -1, -2, -3 | Insulations are damaged due to typhoon Rai (Odette) but the unit can still operate. | Terminal 1 | Mechanical | 3 | Repair the insulations | 140000
25 | Metal Roof | Damage roofing due to Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replaced damaged roofing sheet | 134790
26 | Facade Glazing | Glazing panel cracked due to Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged façade glazing panel | 134720
27 | Mesh Ceiling | Dismantled mesh ceiling that was affected by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 2 | Replaced dismantled roofing sheet | 113247
28 | Metal Roof | Damage roofing due to Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replaced damaged roofing sheet | 109198
29 | Metal Roof | Damage roofing due to Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replaced damaged roofing sheet | 75815
30 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 41936.25
31 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 41034
32 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 38917.25
33 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 35775.5
34 | Canopy | Dismantled roofing sheet due to Odette or Typhoon "Rai" | Terminal 2 | Architectural | 4 | Replaced dismantled roofing sheet | 35606
35 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 35240
36 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 34825.25
37 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 34796
38 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 34360.25
39 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 27299.5
40 | Skylight | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged skylight panel | 27100
41 | Canopy | Dismantled roofing sheet due to Odette or Typhoon "Rai" | Terminal 2 | Architectural | 4 | Replaced dismantled roofing sheet | 25934.5
42 | Canopy | Dismantled roofing sheet due to Odette or Typhoon "Rai" | Terminal 2 | Architectural | 4 | Replaced dismantled roofing sheet | 23747
43 | Facade Glazing | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged façade glazing panel | 11944.8
44 | Facade Glazing | Glazings was destroyed by Odette or Typhoon "Rai" | Terminal 2 | Architectural | 5 | Replacement of broken or damaged façade glazing panel | 11163.4
45 | Normal Lighting | 1.) 30\% of the total architectural lighting were damaged by typhoon. 2.) Preventive and corrective maintenance of normal lightings is not easily accessible and doable due to high ceilings. 3.) No spares for Lighting Bulbs \& Fixtures. | Terminal 2 | Electrical | 4 | replacement of damaged normal / architectural lightings | 6000000
46 | Uninterruptible Power Supply | 1.) 2 out of 4 UPS were damaged by Typhoon Odette. 2.) The UPS can accommodate 100\% load of the critical and IT Systems. | Terminal 2 | Electrical | 4 | corrective maintenance of damaged UPS | 4175850
47 | High Mast Lighting | 1.) 2 out 11 poles for high mast lightings were damaged due to typhoon. 2.) 6 out of 11 high mast lightings in terminal 2 had defective lightings due to typhoon. 3.) No spares for Lighting Bulbs \& Fixtures. | Terminal 2 | Electrical | 4 | Replacement of damaged high mast lighting | 2062500
48 | Street Lighting | 1.) 30\% of street lighting cover were damaged by the typhoon. 2.) 20\% of the street lights were not working. 3.) No spares for Lighting Bulbs \& Fixtures. | Terminal 2 | Electrical | 4 | replacement of damaged street lighting | 1359375
49 | Carpark Lighting | 1.) 30\% of carpark Lightings were damaged by the typhoon. 2.) No provions/spare for Lighting Fixtures | Terminal 2 | Electrical | 4 | Replacement of damaged carpark lighting | 951562.5
50 | Directional Signages | 10-15\% of directional signages were damaged by the typhoon and not working. | Terminal 2 | Electrical | 4 | replacement of damaged directional signages | 40500
51 | FIDS | FIDS Monitors installed outdoors are lost/damaged due to typhoon. | Terminal 2 | IT | 5 | Renewal | 800000
52 | CCTV | CCTV equipment installed outdoors are lost/damaged due to typhoon. | Terminal 2 | IT | 3 | Install outdoor CCTVs in a reinforced setup that will withstand typhoons, OR practice un-installation of CCTV equipment one (1) day before arrival of typhoon. | 300000
53 | PBB C-13r | Slat Curtain on Cab Area Damaged. Damaged Anti-Collision Sensors and Anti-Shear Sensor was temporarily repaired. Recommend immediate replacement due ensure safety of bridge and aircraft during operation. | Terminal 2 | Mechanical | 3 | Repair | 1500000
54 | PBB C-13l | Damaged Anti-Collision Sensor was temporarily repaired. Recommend immediate replacement due to critical component on safety of bridge. | Terminal 2 | Mechanical | 3 | Repair | 1500000
55 | PBB C-12r | Damaged Slat Curtain and Aluminum Ceiling on Cab Area | Terminal 2 | Mechanical | 3 | Repair | 1500000
56 | PBB C-12l | Damaged Slat Curtain and Aluminum Ceiling on Cab Area | Terminal 2 | Mechanical | 3 | Repair | 1500000
57 | PBB C-21 | Damaged Canopies. Rainwater may sip through the aircraft doors if not correctly replaced. Will cause discomfort to passengers during rainy weather. | Terminal 2 | Mechanical | 3 | Repair | 1500000
58 | PBB C-22 | Damaged Canopies. Rainwater may sip through the aircraft doors if not correctly replaced. Will cause discomfort to passengers during rainy weather. | Terminal 2 | Mechanical | 3 | Repair | 1500000
59 | PBB C-23 | Damaged Canopies. Rainwater may sip through the aircraft doors if not correctly replaced. Will cause discomfort to passengers during rainy weather. | Terminal 2 | Mechanical | 3 | Repair | 1500000
| Total | [5 empty] | 77225852.2

## aging
No. | Items | Findings | Area | Discipline | State | Interventions | Capex
1 | Roof Fabric Sheet, Roof Trusses, Main-Lateral-Frame-System | Structural code used for the design was oudated - may not comply to current standards for wind and seismic loadings | Terminal 1 | Architectural | 4 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to increase the strength and meet the requirements for current structural code of the philippines | 25000000
2 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 3069324
3 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 3069072
4 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 3060054
5 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 3055842
6 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2576772
7 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2570544
8 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2503296
9 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2501820
10 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2500344
11 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2490372
12 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2490138
13 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2489022
14 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2441520
15 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2378826
16 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2251710
17 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2187378
18 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2084166
19 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2083662
20 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2080044
21 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2077308
22 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2063142
23 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2031732
24 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 2004660
25 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1915974
26 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1897560
27 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1830186
28 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1801296
29 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1785780
30 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1760796
31 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1718298
32 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1644930
33 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1591074
34 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 1116468
35 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 872190
36 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 802170
37 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 556290
38 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 550512
39 | Ceiling Tiles | 1) Uneven ceiling surface/sagging of ceiling boards 2) Stains on the ceiling/discoloration Due to aging that reach its end-of-life | Terminal 1 | Architectural | 4 | Replacement of ceiling and proper disposal of the existing | 494766
40 | Waterproofing | Waterproofing reached its end of life resulting to water leak on the below level | Terminal 1 | Architectural | 4 | Reapplication of waterproofing | 472713
41 | Waterproofing | Waterproofing reached its end of life resulting to water leak on the below level | Terminal 1 | Architectural | 4 | Reapplication of waterproofing | 472512
42 | LV Switchboards | 1.) Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. 2.) Corrective Maintenance were also done on some parts of the switchboard. | Terminal 1 | Electrical | 4 | Renewal of LV Switchboards | 34000000
43 | 537 KVA Diesel Generator | 1) At least one major corrective intervention has been reported, however, the cause of the Deterioration was not disclosed. 2.) 30% of the total power were only backed up. 3.) The generators of GMCAC will not operate if MCIA is operating their generator. However, only 1 of the 2 generators of MCIA is working, and can only supply 50% of the total load of airport during emergency. 4.) 'Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. | Terminal 1 | Electrical | 4 | Renewal with bigger size of GENSET to cater the 100% load. | 26000000
44 | Busbars | 1.) Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. 2.) Preventive maintenance is performed annually. | Terminal 1 | Electrical | 4 | Renewal of Electrical Busbars | 20000000
45 | Cable Trays | 1.) Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. | Terminal 1 | Electrical | 4 | Renewal of Electrical Cable Trays | 14500000
46 | 2.5 MVA Dry-Type Transformer | Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. | Terminal 1 | Electrical | 4 | Renewal of transformer | 9900000
47 | Electrical Feeder Cables | 1.) Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. 2.) Some cables had undergone replacement during renovation in 2018. | Terminal 1 | Electrical | 4 | Renewal of Electrical Feeder Cables | 9700000
48 | 0.5 MVA Dry-Type Transformer | Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. | Terminal 1 | Electrical | 4 | Renewal of transformer | 7680000
49 | Earthing and Lightning Devices | 1.) Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. 2.) Earth Bars and Grounding System are in good condition. Annual preventive maintenance is conducted. | Terminal 1 | Electrical | 4 | Renewal of earthing and lightning devices | 4422400
50 | Power Factor Correction | Still working however there is a risk of not providing adequate level of services due to low reliability because of aging. | Terminal 1 | Electrical | 4 | Renewal of Capacitor Banks | 2100000
51 | 1500L Fuel Tank | 1.) Fuel Tank pumping is mannually operated. 2.) Fuel Tank monitoring is manual. 3.) At least one major corrective intervention has been reported, however, the cause of the deterioration was not disclosed. | Terminal 1 | Electrical | 4 | Installation of sensors and gas leakage montironing devices. | 730000
52 | Software for the BHS system | Software is outdated and may affect correct operation of equipment and the whole system. | Terminal 1 | IT | 4 | Renewal of software system for the BHS | 500000
53 | AHUs | Aging | Terminal 1 | Mechanical | 4 | Major preventive intervention | 3500000
54 | Insulation of chilled water pipes | Aging | Terminal 1 | Mechanical | 4 | Major preventive intervention | 177900
55 | Insulation of air ducts | Aging | Terminal 1 | Mechanical | 4 | Major preventive intervention | 147000
56 | Floor Tiles | 1) Floor granite tiles are starting to show discoloration deterioration due to ponding of water which is cause of open area with lack of floor drain, drainage and improper sloping for floor 2) Maintenance is expensive due to frequent removal of accumulated water after the rain | Terminal 2 | Architectural | 3 | Conduct storm drain study to assess the need to provide additional drainage system on the area. Treat discolored tiles if still possible. Otherwise, replaced damaged tiles. | 2000000
57 | Portable Fire Extinguisher | Carbon Dioxide Portable Fire Extinguisher is in good condition. Its scheduled hydrostatic testing or replacement is near. | Terminal 2 | Mechanical | 4 | Replace the Carbon dioxide portable fire extinguisher on the 5th year or on 2023. | 430350
58 | Louver Support | Louver support starting to shows corrosion | Terminal 2 | Structural | 3 | Repplication of paint to protect the structural steel support from weather | 5897.1
59 | Louver Support | Louver support starting to shows corrosion | Terminal 2 | Structural | 3 | Repplication of paint to protect the structural steel support from weather | 5502.9
| Total | [5 empty] | 238143313

## damage
No. | Items | Findings | Area | Discipline | State | Interventions | Capex
1 | Foul Water Treatment Plant | Effleunt quality more than the allowable threshold. Poorly maintained system. Broken flowmeter. | General | Environment | 4 | Upgrade the STP to BNR treatment process and should complied with latest DAO regulation. | 24543300
2 | Chiller 4 | Condenser tube is leaking. | Terminal 1 | Mechanical | 4 | Repair the condenser tube | 1170000
3 | Fire Protection Pipe Supports | Buckling and irregular edges are present in the supports of pipes. | Terminal 1 | Mechanical | 3 | Repair the existing supports and provide additional supports as necessary. | 500000
4 | Chiller 3 | VFD controller and contactor are defective. | Terminal 1 | Mechanical | 4 | Repair the VFD controller. | 380000
5 | Sprinkler heads and pipes | Minor leakages and deterioration are found in the reducer. | Terminal 2 | Mechanical | 4 | Repair or replace the deteriorated reducer. | 20000
| Total | [5 empty] | 26613300

## deterioration
No. | Items | Findings | Area | Discipline | State | Interventions | Capex
1 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 540000
2 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 540000
3 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 432000
4 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 432000
5 | Pavement | 1) Longitudinal and Transverse Cracks 2) Ponding of water possibly due to uneven surface | Airside | Civil | 3 | Repair the cracked areas with epoxy injection and level area to suite the design slope of the apron pavement | 364500
6 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 324000
7 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 324000
8 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 324000
9 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 324000
10 | Pavement | 1) Longitudinal and Transverse Cracks 2) Ponding of water possibly due to uneven surface | Airside | Civil | 3 | Repair the cracked areas with epoxy injection and level area to suite the design slope of the apron pavement | 324000
11 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 324000
12 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 324000
13 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 324000
14 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 324000
15 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Crack sealing | 324000
16 | Pavement | 1) Longitudinal and Transverse Cracks 2) Ponding of water possibly due to uneven surface | Airside | Civil | 3 | Repair the cracked areas with epoxy injection and level area to suite the design slope of the apron pavement | 324000
17 | Pavement | 1) Longitudinal and Transverse Cracks 2) Ponding of water possibly due to uneven surface | Airside | Civil | 3 | Repair the cracked areas with epoxy injection and level area to suite the design slope of the apron pavement | 324000
18 | Pavement | 1) Longitudinal and Transverse Cracks | Airside | Civil | 3 | Repair the cracked areas with epoxy injection | 324000
19 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 682072
20 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 682016
21 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 680012
22 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 679076
23 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 572616
24 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 571232
25 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 556288
26 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 555960
27 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 555632
28 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 553416
29 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 553364
30 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 553116
31 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 542560
32 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 528628
33 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 500380
34 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 486084
35 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 463148
36 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 463036
37 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 462232
38 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 461624
39 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 458476
40 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 451496
41 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 445480
42 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 425772
43 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 421680
44 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 406708
45 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 400288
46 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 396840
47 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 391288
48 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 381844
49 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 365540
50 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 353572
51 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 248104
52 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 193820
53 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 178260
54 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 123620
55 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of dameged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 122336
56 | Floor Tiles | Damaged and stained floor tiles possibly due to poor maintenace that results to moisture deterioration | Terminal 1 | Architectural | 4 | Replacement of damaged and stained tiles. Ensure proper maintenance to avoid moisture deterioration | 109948
57 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 8525.9
58 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 8525.2
59 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 8500.15
60 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 8488.45
61 | Floor Drains | Clogged Floor Drains | Terminal 1 | Architectural | 3 | Declogged floor drains, and ensure regular maintenace to avoid the accumulation of debris on the drains | 7340.16
62 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 7157.7
63 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 7140.4
64 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6953.6
65 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6949.5
66 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6945.4
67 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6917.7
68 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6917.05
69 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6913.95
70 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6782
71 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6607.85
72 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6254.75
73 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6076.05
74 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5789.35
75 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5787.95
76 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5777.9
77 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5770.3
78 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5730.95
79 | Floor Drains | Clogged Floor Drains | Terminal 1 | Architectural | 3 | Declogged floor drains, and ensure regular maintenace to avoid the accumulation of debris on the drains | 5726.16
80 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5643.7
81 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5568.5
82 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5322.15
83 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5271
84 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5083.85
85 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5003.6
86 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 4960.5
87 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 4891.1
88 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 4773.05
89 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 4569.25
90 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 4419.65
91 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 3101.3
92 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2422.75
93 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2228.25
94 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 1545.25
95 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 1529.2
96 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 1 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 1374.35
97 | Normal Lighting | 1.) 10% of the normal lightings are reported not to provide adequate level of services. 2.) 50% of the lightings were not yet LED. 3.) No spares for Lighting Bulbs & Fixtures. | Terminal 1 | Electrical | 5 | Replacement of Normal Lightings | 2755760
98 | Normal Lighting | 1.) 40%of the normal lightings are reported not to provide adequate level of services. 2.) 50% of the lightings were not yet LED. 3.) No spares for Lighting Bulbs & Fixtures. | Terminal 1 | Electrical | 5 | Replacement of Normal Lightings | 2755760
99 | Outlets | 1.) minor deterioration on covers of power outlets. | Terminal 1 | Electrical | 3 | corrective interventon of small power outlets | 497500
100 | General Lighting and Power Roughing - Ins and accessories | 1.) 90% of the junction box were already corroded. 2.) Roughing - Ins tagging were not found on some areas. | Terminal 1 | Electrical | 4 | corrective interventon of general lighting and power roughing - ins and accessories | 454500
101 | 2 valves | Marks of leakages were found in two valves. | Terminal 1 | Mechanical | 3 | Repair the valves | 898800
102 | Cooling Tower 1 to 4 | This can operate but with minor issues such as deteriorated protective screens and corrosions. | Terminal 1 | Mechanical | 3 | Repair the protective screens and corrosions. | 348000
103 | Insulation of chilled water pipes | Deteriorating insulation and molds were observed. | Terminal 1 | Mechanical | 3 | Repair the insulations | 177900
104 | Insulation of air ducts | Deteriorating insulation and molds were observed. | Terminal 1 | Mechanical | 3 | Repair the insulations | 147000
105 | Portable Fire Extinguisher | It is estimated that the portable fire extinguishers were not inspected monthly as specified in NFPA 10. | Terminal 1 | Mechanical | 3 | External and internal inspections of the fire extinguishers are required. Replacement of defective fire extinguishers is most likely. | 25000
106 | Chiller Structural Steel Supports | 1) Chiller support are corroded 2) Paints faded away, resulting to steel supports exposed to weather | Terminal 1 | Structural | 4 | Conduct structural evaluation to assess the capacity of the support May undergo retrofitting to increase the strength Esnure proper maintenance for the paint coating | 152920
107 | Ceiling Tiles | Stains on the ceiling due to water leaks | Terminal 2 | Architectural | 4 | 'Replacement of stained ceiling and proper disposal of the existing | 83872.5
108 | Ceiling Tiles | Stains on the ceiling due to water leaks | Terminal 2 | Architectural | 4 | 'Replacement of stained ceiling and proper disposal of the existing | 83416
109 | Ceiling Tiles | Stains on the ceiling due to water leaks | Terminal 2 | Architectural | 4 | 'Replacement of stained ceiling and proper disposal of the existing | 82068
110 | Ceiling Tiles | Stains on the ceiling due to water leaks | Terminal 2 | Architectural | 4 | 'Replacement of stained ceiling and proper disposal of the existing | 80609
111 | Ceiling Tiles | Stains on the ceiling due to water leaks | Terminal 2 | Architectural | 4 | 'Replacement of stained ceiling and proper disposal of the existing | 77834.5
112 | Ceiling Tiles | Stains on the ceiling due to water leaks | Terminal 2 | Architectural | 4 | 'Replacement of stained ceiling and proper disposal of the existing | 73179.5
113 | Ceiling Tiles | Stains on the ceiling due to water leaks | Terminal 2 | Architectural | 4 | 'Replacement of stained ceiling and proper disposal of the existing | 71551
114 | Side Walk | Ponding of water due to lack of floor drain, drainage and improper sloping | Terminal 2 | Architectural | 3 | Corrective intervention | 71212
115 | Ceiling Tiles | Stains on the ceiling due to water leaks | Terminal 2 | Architectural | 4 | 'Replacement of stained ceiling and proper disposal of the existing | 69185
116 | Side Walk | Ponding of water due to lack of floor drain, drainage and improper sloping | Terminal 2 | Architectural | 3 | Corrective intervention | 51869
117 | Side Walk | Ponding of water due to lack of floor drain, drainage and improper sloping | Terminal 2 | Architectural | 3 | Corrective intervention | 28415.4
118 | Side Walk | Ponding of water due to lack of floor drain, drainage and improper sloping | Terminal 2 | Architectural | 3 | Corrective intervention | 28345.8
119 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 16683.2
120 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 15940.9
121 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 15910.9
122 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 15566.9
123 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 15109.6
124 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 15099.6
125 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 15023.4
126 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14808.3
127 | Internal Walls | Exposed plastic mesh reinforcement of wall due to poor construction | Terminal 2 | Architectural | 3 | Apply epoxy to fill in the deteriorated areas and repainting of walls to cover epoxy patched areas | 14808.3
128 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14641.3
129 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14635.9
130 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14454
131 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14397.7
132 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14310.2
133 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14207.7
134 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14172.9
135 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14096
136 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 14027.4
137 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 13963.6
138 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 13930.1
139 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 13918.4
140 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 13848.7
141 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 13832.3
142 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 13744.1
143 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 13722.9
144 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 13479
145 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 11944.8
146 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 11308.2
147 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 11282.2
148 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 11178.3
149 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 11163.4
150 | Floor Tiles | There were holes on the floor tiles due to the removal of the luggage cart balustrade | Terminal 2 | Architectural | 3 | Fill in holes or replacement of the affected tile panel | 11078.96
151 | Floor Tiles | There were holes on the floor tiles due to the removal of the luggage cart balustrade | Terminal 2 | Architectural | 3 | Fill in holes or replacement of the affected tile panel | 11065.84
152 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 11046.2
153 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 10924.8
154 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 10894.5
155 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 10636.5
156 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 7581.5
157 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 7567.3
158 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 7279.6
159 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6978
160 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6677.2
161 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6474.7
162 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6187.3
163 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 6085.6
164 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 5388.8
165 | Mesh Ceiling | Traces of water/liquid leak on the mesh ceiling | Terminal 2 | Architectural | 3 | Cleaning of the affected mesh ceiling and replacement of the piping that causes the leak | 2879.54
166 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2789.96
167 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2770.26
168 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2638.4
169 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2630
170 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2611.9
171 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2606.6
172 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2366.8
173 | Internal Walls | Hairline cracks on wall, especially those walls directly below the beams and near the elevator shafts | Terminal 2 | Architectural | 4 | Apply epoxy to fill in the wall cracks and repainting of walls to cover epoxy patched areas | 2326.2
174 | Pavement | 1) Longitudinal and Transverse Cracks | Terminal 2 | Civil | 3 | Crack sealing | 63763.6
175 | Pavement | 1) Longitudinal and Transverse Cracks | Terminal 2 | Civil | 3 | Crack sealing | 63643.6
176 | Pavement | 1) Longitudinal and Transverse Cracks | Terminal 2 | Civil | 3 | Crack sealing | 60093.6
177 | Pavement | 1) Longitudinal and Transverse Cracks | Terminal 2 | Civil | 3 | Crack sealing | 58565.2
178 | Pavement | 1) Longitudinal and Transverse Cracks | Terminal 2 | Civil | 3 | Crack sealing | 45232.8
179 | Pavement | 1) Longitudinal and Transverse Cracks | Terminal 2 | Civil | 3 | Crack sealing | 45128.8
180 | Pavement | 1) Longitudinal and Transverse Cracks | Terminal 2 | Civil | 3 | Crack sealing | 30269.2
181 | Junction box and Pull box | 1.) 20% of the total junction box were uncovered. 2.) 2% of the pullbox enclosure were deteriorated. | Terminal 2 | Electrical | 3 | replacement of damaged junction box and pull box | 120000
182 | Elevator | 1) Deterioration on the metal casing According to the GMCAC this elevator was damaged because of the rescue operation made during the time that somebody got trap and the elevator doors are not opening | Terminal 2 | Mechanical | 3 | Repair aluminum sheet casing of the elevator Check and investigate the operating system of the elevator that causes the machine to stop opening | 139560
183 | Cooling Tower System | Noticeable corrosion on the body of the cooling towers | Terminal 2 | Mechanical | 3 | Repainting | 100000
184 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 1509705
185 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 1477224
186 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 1401021
187 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 1359864
188 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 1287918
189 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 1235061
190 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 1213110
191 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 994158
192 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 682335
193 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 600948
194 | Timber Roof Main Support | Timber supports of the roof starting to show expansions on its grains resulted to cracks possibly due to movement of the structure especially during the Typhoon Odette | Terminal 2 | Structural | 3 | Conduct structural evaluation to comply with the current structural code of the philippines May undergo retrofitting to mitigate the progression of the cracks | 547704
195 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 492408
196 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 333664
197 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 318818
198 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 318218
199 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 300468
200 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 296166
201 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 292826
202 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 292718
203 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 289080
204 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 287954
205 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 251617.5
206 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 250248
207 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 246204
208 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 241827
209 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 233503.5
210 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 226644
211 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 226164
212 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 225644
213 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 222124.5
214 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 219538.5
215 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 218496
216 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 217890
217 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 216810
218 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 214653
219 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 212730
220 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 210411
221 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 209454
222 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 208776
223 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 207555
224 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 206161.5
225 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 205843.5
226 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 202185
227 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 172963.5
228 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 165693
229 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 163797
230 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 163417.5
231 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 162600
232 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 159547.5
233 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 151346
234 | Column | Poor construction resulting to honeycomb of main lateral resisting frame | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 150996
235 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 149289
236 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 145592
237 | Column | Poor construction resulting to honeycomb of main lateral resisting frame | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 143977
238 | Beam | Deflection on beam that possibly cause of poor construction | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible beam cracks | 143977
239 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 139560
240 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 129494
241 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 123746
242 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 117942
243 | Beam | Damaged and exposed rebar of beam due to removal of canopy | Terminal 2 | Structural | 5 | Conduct structural investigation to assess the strength of the structural membder Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 117942
244 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 113722.5
245 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 110058
246 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 109194
247 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 107776
248 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 100158
249 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 94756
250 | Beam | Damaged and exposed rebar of beam due to removal of canopy | Terminal 2 | Structural | 5 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in damaged portions | 94756
251 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 92809.5
252 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 91284
253 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 84576
254 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 83698.8
255 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 83580.6
256 | Beam | Poor construction resulting to honeycomb of main lateral resisting frame and exposure of rebar | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 83356
257 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 83107.8
258 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 80832
259 | Suspended Slab | Hairline cracks and honeycomb on suspended slab | Terminal 2 | Structural | 3 | Apply epoxy to fill in the visible slab cracks | 79983
260 | Column | Poor construction resulting to honeycomb of main lateral resisting frame | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 58971
261 | Column | Poor construction resulting to honeycomb of main lateral resisting frame | Terminal 2 | Structural | 3 | Plastering of the structural members that has a exposed rebars and providing epoxy to fill in honeycombs | 55029
262 | Suspended Slab | Severe crack near Grid Line 11L | Terminal 2 | Structural | 4 | Apply epoxy to fill in the visible slab cracks | 48365.4
| Total | [5 empty] | 58612742.13

## NPV-option
Disciplines | Area
| T1 | T2 | Airside | Landside | General | Total
Architectural |  | 31972700 |  |  |  | 31972700 | 31972700
Civil | [5 empty] | 0 | 0
Electrical | [5 empty] | 0 | 0
Environment | [5 empty] | 0 | 0
IT | 20000000 |  |  |  |  | 20000000 | 20000000
Mechanical | [5 empty] | 0 | 0
Structural | 105000000 |  |  |  |  | 105000000 | 105000000
Total | 125000000 | 31972700 | 0 | 0 | 0 | 156972700

## opex
Asset | Percentage
| Year 1-5 | Year 6-25
ACMV | 0.03 | 0.045
Mechnical | 0.03 | 0.045
Electrical | 0.03 | 0.045
IT | 0.03 | 0.045
Passenger Loading Bridge | 0.045 | 0.07
Terminal Building Works | 0.01 | 0.01
Passenger Screening | 0.05 | 0.07
CCTV | 0.05 | 0.07
Overal | 0.034375 | 0.05

## cebucapex
Systems | T1 | T2 | Common | Total | Ajusted from T2 | Adjusted Arcadis | Each Terminal
| Renovation | [10 empty] | Now | 3%
Civil and Structure |  | 880640000 |  | 880640000 | 1761280000 | 1761280000 | 880640000 | 907059200 | 934270976 | 962299105.28 | 991168078.4384 | 1020903120.7916 | 2041806241.5831
Roof and Façade |  | 2396820000 |  | 2396820000 | 4793640000 | 4793640000 | 2396820000 | 2468724600 | 2542786338 | 2619069928.14 | 2697642025.9842 | 2778571286.7637 | 5557142573.5275
Finishes |  | 845380000 |  | 845380000 | 1690760000 | 1690760000 | 845380000 | 870741400 | 896863642 | 923769551.26 | 951482637.7978 | 980027116.9317 | 1960054233.8635
Landscape | 1621100000 | 131000000 |  | 1752100000 | 262000000 | 150000000 | 75000000 | 77250000 | 79567500 | 81954525 | 84413160.75 | 86945555.5725 | 173891111.145
Furniture, Signage | 54340000 |  |  | 54340000 | 0 | 108680000 | 54340000 | 55970200 | 57649306 | 59378785.18 | 61160148.7354 | 62994953.1975 | 125989906.3949
MEPF | 1010330000 | 1051780000 |  | 2062110000 | 2103560000 | 2103560000 | 1051780000 | 1083333400 | 1115833402 | 1149308404.06 | 1183787656.1818 | 1219301285.8673 | 2438602571.7345
Airport systems | 531480000 | 1190240000 |  | 1721720000 | 2380480000 | 2380480000 | 1190240000 | 1225947200 | 1262725616 | 1300607384.48 | 1339625606.0144 | 1379814374.1948 | 2759628748.3897
IT systems |  | 550400000 |  | 550400000 | 1100800000 | 1100800000 | 550400000 | 566912000 | 583919360 | 601436940.8 | 619480049.024 | 638064450.4947 | 1276128900.9894
Pavement and Utilities |  |  | 723260000 | 723260000 | 723260000 | 723260000 | 361630000 | 372478900 | 383653267 | 395162865.01 | 407017750.9603 | 419228283.4891 | 838456566.9782
Total | 3217250000 | 7046260000 | 723260000 | 10986770000 | 14815780000 | 14812460000 | 7406230000 | 7628416900 | 7857269407 | 8092987489.21 | 8335777113.8863 | 8585850427.3029 | 17171700854.6058
|  |  |  | year 1-5 | 518552300 | [7 empty] | 0
|  |  |  | year 6-25 | 740789000 | [7 empty] | 0
Systems | Capex | \% Intervention | Span (years)
Civil and Structure | 2041806241.5831 | 0.2 | 20
Roof and Façade | 5557142573.5275 | 0.2 | 25
Finishes | 1960054233.8635 | 0.6 | 15
Landscape | 173891111.145 | 1 | 15
Furniture, Signage | 125989906.3949 | 1 | 10
MEPF | 2438602571.7345 | 0.2 | 30
Airport systems | 2759628748.3897 | 0.1 | 10
IT systems | 1276128900.9894 | 0.2 | 10
Pavement and Utilities | 838456566.9782 | 0.3 | 10
Total | 17171700854.6058